## Sheet1
Scoville – Heat Gain/Loss Calculator

Job Name:	SmokeTest6					Customer:	John Q. Sample
Job Number:	0					Address:	520 North Main St.
Date:					Meadville, PA 16335

	Area		CM		Gain			Area		HM		Loss
Gross Wall	14					Gross Wall	14
North Window	0		15		0		Windows	0		Single	80	0
South Window	0		25		0		Doors	0		Single	80	0
East/West Window	0		45		0		Net Wall	14		3 Inches	5	70
Sky-Lite	0		139		0		Ceiling	10		10 Inches	2	20
Doors	0		11		0		Floor	10		Crawl Space	21	210
Net Wall	14		3 Inches	1.5	21		Infiltration	Area	10	¼ Air Change	0.32	9.6
Ceiling	10		10 Inches	1.3	13			Ht.	3
Floor	10		6 Inches	0.5	5		Heat Loss Subtotal					309.6
Infiltration	Area	10	¼ Air Change	0.068	2.04		Total Loss	309.6		1.25		387
	Ht.	3
People	1		300		300
Appliance	0				0		Notes:
Subtotal					341.04
Duct Loss	341.04		0.05		17.052
Total Sensible					358.092
Latent Infiltration	Area	10	¼ Air Change	0.065	1.95
	Ht.	3
People	1		230		230
Total Latent					231.95
Total Gain	358.092		231.95		590.042

(Input cells are highlighted in yellow)
(Questionable cells are highlighted in blue)
(Output cells are highlighted in green)

## Sheet2
Heating/Cooling Multipliers

Wall CM			Windows/Door HM
No Insulation	4		Single	80
2 Inches	2		Insulated	48
3 Inches	1.5		Storm	40
[Custom]	1		Triple	23
			[Custom]	1
Ceiling CM
No Insulation	11		Ceiling HM
3 Inches	3.2		No Insulation	21
6 Inches	2.1		3 Inches	6
10 Inches	1.3		6 Inches	4
[Custom]	1		10 Inches	2
			[Custom]	1
Floors CM
No Insulation	4		Floor HM
3 Inches	0.8		Crawl Space	21
6 Inches	0.5		Crawl – Ins.	5
[Custom]	1		Base – No Ins.	4
			Bsmt. – 3 Inches	2
Windows			[Custom]	1
North	15
South	25		Wall HM
East/West	45		No Insulation	18
Skylight	139		2 Inches	7
Doors	11		3 Inches	5
[Custom]	1		6 Inches	4
			[Custom]	1
Infiltration
1 Air Change	0.275		Infiltration HM
½ Air Change	0.137		1 Air Change	1.26
¼ Air Change	0.068		¾ Air Change	0.95
[Custom]	1		½ Air Change	0.63
			¼ Air Change	0.32
Latent Heat Inf.			[Custom]	1
1 Air Change	0.26
½ Air Change	0.13		Slab/Grade
¼ Air Change	0.065		No Insulation	56.7
[Custom]	0.068		1.5 Inches	28.7
			[Custom]	1

			Slab with Perm
			No Insulation	133
			1.5 Inches	79.8
			Custom	1