## Sheet1
Scoville – Heat Gain/Loss Calculator

Job Name:	SmokeTest8					Customer:	John Q. Sample
Job Number:	0					Address:	520 North Main St.
Date:					Meadville, PA 16335

	Area		CM		Gain			Area		HM		Loss
Gross Wall	660					Gross Wall	660
North Window	0		15		0		Windows	3		Storm	40	120
South Window	0		25		0		Doors	4		Insulated	48	192
East/West Window	3		45		135		Net Wall	653		2 Inches	7	4571
Sky-Lite	0		139		0		Ceiling	27225		3 Inches	6	163350
Doors	4		11		44		Floor	27225		Bsmt. – 3 Inches	2	54450
Net Wall	653		2 Inches	2	1306		Infiltration	Area	27225	¼ Air Change	0.32	78408
Ceiling	27225		3 Inches	3.2	87120			Ht.	9
Floor	27225		3 Inches	0.8	21780		Heat Loss Subtotal					301091
Infiltration	Area	27225	¼ Air Change	0.068	16661.7		Total Loss	301091		1.25		376363.75
	Ht.	9
People	2		300		600
Appliance	5000				5000		Notes:
Subtotal					132646.7
Duct Loss	132646.7		0.05		6632.335
Total Sensible					139279.035
Latent Infiltration	Area	27225	¼ Air Change	0.065	15926.625
	Ht.	9
People	2		230		460
Total Latent					16386.625
Total Gain	139279.035		16386.625		155665.66

(Input cells are highlighted in yellow)
(Questionable cells are highlighted in blue)
(Output cells are highlighted in green)

## Sheet2
Heating/Cooling Multipliers

Wall CM			Windows/Door HM
No Insulation	4		Single	80
2 Inches	2		Insulated	48
3 Inches	1.5		Storm	40
[Custom]	1		Triple	23
			[Custom]	1
Ceiling CM
No Insulation	11		Ceiling HM
3 Inches	3.2		No Insulation	21
6 Inches	2.1		3 Inches	6
10 Inches	1.3		6 Inches	4
[Custom]	1		10 Inches	2
			[Custom]	1
Floors CM
No Insulation	4		Floor HM
3 Inches	0.8		Crawl Space	21
6 Inches	0.5		Crawl – Ins.	5
[Custom]	1		Base – No Ins.	4
			Bsmt. – 3 Inches	2
Windows			[Custom]	1
North	15
South	25		Wall HM
East/West	45		No Insulation	18
Skylight	139		2 Inches	7
Doors	11		3 Inches	5
[Custom]	1		6 Inches	4
			[Custom]	1
Infiltration
1 Air Change	0.275		Infiltration HM
½ Air Change	0.137		1 Air Change	1.26
¼ Air Change	0.068		¾ Air Change	0.95
[Custom]	1		½ Air Change	0.63
			¼ Air Change	0.32
Latent Heat Inf.			[Custom]	1
1 Air Change	0.26
½ Air Change	0.13		Slab/Grade
¼ Air Change	0.065		No Insulation	56.7
[Custom]	0.068		1.5 Inches	28.7
			[Custom]	1

			Slab with Perm
			No Insulation	133
			1.5 Inches	79.8
			Custom	1