## Sheet1
Scoville – Heat Gain/Loss Calculator

Job Name:	SmokeTest2					Customer:	John Q. Sample
Job Number:	0					Address:	520 North Main St.
Date:					Meadville, PA 16335

	Area		CM		Gain			Area		HM		Loss
Gross Wall	1600					Gross Wall	1600
North Window	23		15		345		Windows	240		Triple	23	5520
South Window	40		25		1000		Doors			Triple	23	0
East/West Window	177		45		7965		Net Wall	1357		6 Inches	4	5428
Sky-Lite	0		139		0		Ceiling	1940		10 Inches	2	3880
Doors	3		11		33		Floor	1940		Bsmt. – 3 Inches	2	3880
Net Wall	1357		3 Inches	1.5	2035.5		Infiltration	Area	1940	¼ Air Change	0.32	6208
Ceiling	1940		10 Inches	1.3	2522			Ht.	10
Floor	1940		6 Inches	0.5	970		Heat Loss Subtotal					24916
Infiltration	Area	1940	¼ Air Change	0.068	1319.2		Total Loss	24916		1.25		31145
	Ht.	10
People	5		300		1500
Appliance	2000				2000		Notes:
Subtotal					19689.7
Duct Loss	19689.7		0.05		984.485
Total Sensible					20674.185
Latent Infiltration	Area	1940	¼ Air Change	0.065	1261
	Ht.	10
People	5		230		1150
Total Latent					2411
Total Gain	20674.185		2411		23085.185

(Input cells are highlighted in yellow)
(Questionable cells are highlighted in blue)
(Output cells are highlighted in green)

## Sheet2
Heating/Cooling Multipliers

Wall CM			Windows/Door HM
No Insulation	4		Single	80
2 Inches	2		Insulated	48
3 Inches	1.5		Storm	40
[Custom]	1		Triple	23
			[Custom]	1
Ceiling CM
No Insulation	11		Ceiling HM
3 Inches	3.2		No Insulation	21
6 Inches	2.1		3 Inches	6
10 Inches	1.3		6 Inches	4
[Custom]	1		10 Inches	2
			[Custom]	1
Floors CM
No Insulation	4		Floor HM
3 Inches	0.8		Crawl Space	21
6 Inches	0.5		Crawl – Ins.	5
[Custom]	1		Base – No Ins.	4
			Bsmt. – 3 Inches	2
Windows			[Custom]	1
North	15
South	25		Wall HM
East/West	45		No Insulation	18
Skylight	139		2 Inches	7
Doors	11		3 Inches	5
[Custom]	1		6 Inches	4
			[Custom]	1
Infiltration
1 Air Change	0.275		Infiltration HM
½ Air Change	0.137		1 Air Change	1.26
¼ Air Change	0.068		¾ Air Change	0.95
[Custom]	1		½ Air Change	0.63
			¼ Air Change	0.32
Latent Heat Inf.			[Custom]	1
1 Air Change	0.26
½ Air Change	0.13		Slab/Grade
¼ Air Change	0.065		No Insulation	56.7
[Custom]	0.068		1.5 Inches	28.7
			[Custom]	1

			Slab with Perm
			No Insulation	133
			1.5 Inches	79.8
			Custom	1